{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":58,"n_cols":10,"rows_kept":58,"cut":false,"hidden":false,"merged":[[0,8,0,9],[1,8,1,9]]}
[null,"Area (ft2)","Bay width (ft)","Bay Length","Column Spacing","height to hook","to crane rails","Crane #","Crane Capacity"]
[{"$nulls":8},"DWG - WH-3000C"]
[{"$nulls":8},"main ","Aux"]
["Box shop",{"$f":"C4*D4","v":7753.2},42.6,182,20,"?",null,93,15,"-"]
["BAY 1 - Barbette - (41,282 sqft total)",{"$f":"C5*D5","v":38813.599999999999},95.6,406,25,"60'",60,140,225,"10/4"]
[{"$nulls":5},"58' 4 1/4\"",60,141,25,"-"]
[]
[]
["Barbette lean to area - 2,712 sqft",{"$f":"C9*D9","v":2712},12,226,"N/A",null,"-","-","-","-"]
["BAY 2 - Bertsch Aisle - (59,097 sqft)",{"$f":"C10*D10","v":59160},60,986,20,"?",31,125,15,"-"]
[{"$nulls":5},"?",null,126,15,"-"]
[{"$nulls":5},"?",null,128,15,"-"]
[{"$nulls":5},"?",null,129,15,"-"]
["BAY 3 - 900 ft aisle (69,000 sqft)",{"$f":"C14*D14","v":69620},59,1180,20,"?",32,96,125,"25/5"]
[{"$nulls":5},"?",32,89,30,10]
[{"$nulls":5},"33' 8 5/8\"",32,1,50,10]
[{"$nulls":5},"?",32,127,15,1]
["#3 sub and material storage",7113.7,37,238,20,"?",22,87,10,"-"]
["BAY 4 - Upper Ship Shaft Aisle (33,040 NE of Mesta St)",{"$f":"C19*D19","v":35400},59,600,20,"33' 6\"",32,28,165,"10/5"]
[{"$nulls":5},"?",32,85,165,"25/5"]
[{"$nulls":5},"?",32,21,50,10]
[{"$nulls":5},"32' 6 1/4\"",32,26,50,"10/5"]
[{"$nulls":5},"?",32,27,50,10]
["BAY 5 - 40 ft Aisle (13915 sqft)",15390,35,442,20,"?",22,91,15,"-"]
[{"$nulls":7},82,10,"-"]
[]
["BAY 6 - Maintenance Aisle",{"$f":"C27*D27","v":24440},26,940,20,"16'",20,19,5,"-"]
[{"$nulls":5},"14' 5\"",20,10,5,"-"]
[{"$nulls":5},"?",20,18,10,"-"]
[{"$nulls":6},20,19,null,"-"]
["BAY 7 - Main Aisle",{"$f":"C31*D31","v":55460},59,940,20,null,32,5,125,"25/5"]
[{"$nulls":5},"33' 8 5/8\"",32,2,50,10]
["BAY 8 - Tool Crib Aisle",{"$f":"C33*D33","v":38540},41,940,20,"?",20,14,10]
[{"$nulls":5},"?",20,15,15,"1"]
[{"$nulls":5},"20'9\"",20,16,30,"10"]
["BAY 9 - Lower Ship Shaft Aisle to Power House (SW of Mesta St)",{"$f":"C36*D36","v":55460},59,940,20,null,null,"same as upper ship shaft"]
["BAY 10 - Fitting and Erecting Floor",42840,76.5,560,20,"?",null,29,50,"10"]
[{"$nulls":5},"?",null,30,50,"10"]
[{"$nulls":5},"?",null,31,50,"10"]
[{"$nulls":5},"?",null,32,50,"10"]
[{"$nulls":5},"22'",null,7,2,"-"]
["Maintenance Mezzineen (3 floors - sqft only accounts for 1)",null,15.3,580,null,"?",null,36,2,"-"]
[{"$nulls":5},"?",null,40,1,"-"]
[{"$nulls":5},"?",null,13,5,"-"]
[{"$nulls":5},"?",null,39,5,"-"]
[{"$nulls":5},"?",null,86,5,"-"]
["Bay 10 - Storage #1",1475]
["Bay 10 - Storage #2",2660]
["BAY 11 - Oil storage",{"$f":"C49*D49","v":18491},41,451,20,"?",null,92,15,"-"]
[{"$nulls":4},20,"?",null,38,10,"-"]
["BAY 12 - Weld shop area",{"$f":"C51*D51","v":29951},61,491,20,"?",null,34,75,10]
[{"$nulls":5},"?",null,35,50,"10"]
[]
["Power house",13241]
["Mesta Street Locker Room",3264]
["Total",{"$f":"SUM(B4:B55)","v":521784.5}]
[]
["Tunnel Entrance",2754,28,190]