PAGE #_______     

ROTTMAN DRILLING CO.

46471 N. DIVISION

LANCASTER, CA 93535

(661) 942-6125

JOB:



Huntington Group 14-inch


 
      DATE:07/03/2006

SWL:



90’





AIRLINE:

189’





           WATER LEVEL

GALLONS / MINUTE

	TIME
	OPERATION
	LBS
	P/L
	INCHES
	GALS
	YIELD
	REMARKS

	10:30
	Startup
	39
	
	
	100
	
	Dirty

	11:30
	Cleaned up
	7
	173’
	
	80
	
	Clean

	11:45
	Pump Test
	7
	173’
	
	80
	
	Clean

	12:00
	Pump Test
	7
	173’
	
	80
	
	Clean

	12:15
	Pump Test
	7
	173’
	
	80
	
	Clean

	12:30
	Pump Test
	6
	175’
	
	80
	
	Clean

	12:45
	Pump Test
	6
	175’
	
	80
	
	Clean

	1:00
	Pump Test
	6
	175’
	
	80
	
	Clean

	1:15
	Pump Test
	6
	175’
	
	80
	
	Clean

	1:30
	Pump Test
	6
	175’
	
	80
	
	Clean

	2:00
	Pump Test
	6
	175’
	
	80
	
	Clean

	2:30
	Pump Test
	5
	177’
	
	80
	
	Clean

	3:00
	Pump Test
	5
	177’
	
	80
	
	Clean

	3:30
	Pump Test
	5
	177’
	
	80
	
	Clean

	4:00
	Pump Test
	5
	177’
	
	80
	
	Clean

	4:30
	Pump Test
	5
	177’
	
	80
	
	Clean

	
	
	
	
	
	
	
	Clean

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


