455 Old Ithaca Road

Horseheads, NY 14845

Additional Information

Estimated $40,000 worth of equipment including:

- 4 Pizza Ovens*

- 3 Fryers

- Pizza Station

- Sandwich/Salad Station*

- Walk-In Cooler

- Walk-In Freezer

- Ventilation Hood

- Exhaust Hood

- Point Of Sale Equipment

Utilities:

- Well with Water Purification/Storage System

- Public Sewer

- Heat - Forced Air & Mini-Split*

- Cooling - Mini-Split & Window AC Unit, Central AC*

Additional Notes:

- Central Air Unit - does not work, the refrigerant may need to be recharged. Dining room cooled with a mini-split, window ac unit in kitchen.

- Double Pizza Oven - closest to pizza station does not work, a gas valve may need to be replaced.

- Refrigerated Sandwich/Salad Prep Table behind front counter does not work, may need a leak fixed.

- No remote for Mini-Split

- The large green metal unit on stilts behind the building is an air conditioning unit, previous owner purchased from Pizza Hut but never hooked it up.

*Please see Additional Notes