{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sortable Equipment"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sortable Equipment","index":0,"n_rows":405,"n_cols":13,"rows_kept":405,"cut":false,"hidden":false,"merged":[]}
["Ownership Group","Room #","Location","Eq. ID","Type","Brand","Model","Cat #","Serial #","Column7","Column8","Column9","Column10"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0500-01","Particle Sizer","Brookhaven Instruments","NanoBrook 90Plus",null,210080]
["Manuf",213,"Assay / Analytical Lab","IN-L-0501-01","TOC","Shimadzu","TOC-LCPH",null,"H54325932595"]
["Manuf",216,"Magnetite / HSA-FF","IN-L-0503-00","Sonicator","Qsonica","Q700",null,"110336P-12-19"]
["Manuf",218,"Manufacturing Storage Room","IN-L-0503-01","Sonicator","Qsonica","Q700",null,"113939T-08-20"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0504-03","Balance","Mettler Toledo","PB303-S/FACT",null,1129031424]
["Manuf",113,"Warehouse","IN-L-0504-07","Balance","Dymo","M25 (postal scale)",null,1082146108714]
["R&D",215,"Blood / Apheresis Lab","IN-L-0504-08","Balance","Mettler Toledo","XPR1202S",null,"C238479035"]
["R&D",214,"R&D Lab","IN-L-0504-09","Balance","Mettler Toledo","XPR303SN",null,"C235684806"]
["Manuf",210,"Buffer & Media Prep","IN-L-0504-10","Balance","Mettler Toledo","XPR6002S",null,"C341916782"]
["Manuf",203,"ISO 7 mAb Purification","IN-L-0504-11","Balance","Mettler Toledo","XPR4002S",null,"C338845690"]
["Manuf",216,"Magnetite / HSA-FF","IN-L-0504-12","Balance","Mettler Toledo","XPR4002S",null,"C338845696"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0504-13","Balance","Mettler Toledo","XPR4002S",null,"C338845687"]
["Manuf",201,"ISO 7 SAFF","IN-L-0504-14","Balance","Mettler Toledo","XPR105DR",null,"C339876899"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0504-15","Balance","Mettler Toledo","XPR105DR",null,"C339876890"]
["Manuf",216,"Magnetite / HSA-FF","IN-L-0504-16","Balance","Mettler Toledo","XPR105DR",null,"C339876891"]
["Manuf",202,"ISO 7 Sterile Fill","IN-L-0504-17","Balance","Mettler Toledo","XPR204",null,"C349246220"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0505-11","pH Meter & Electrodes","Mettler Toledo","SevenExcellence (meter)",null,"C316024632"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0505-12","pH Meter & Electrodes","Mettler Toledo","InLab Routine Pro-ISM (pH electrode) 51344055",null,3130139]
["Manuf",213,"Assay / Analytical Lab","IN-L-0505-14","pH Meter & Electrodes","Mettler Toledo","InLab 731-ISM (high cond. electrode) 30014092",null,5823132065]
["Manuf",213,"Assay / Analytical Lab","IN-L-0505-15","pH Meter & Electrodes","Mettler Toledo","pH/mV module",null,"C309766875"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0505-16","pH Meter & Electrodes","Mettler Toledo","pH/mV module",null,"C244177165"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0505-17","pH Meter & Electrodes","Mettler Toledo","Conductivity module",null,"C309753982"]
["Manuf",216,"Magnetite / HSA-FF","IN-L-0505-19","pH Meter & Electrodes","Mettler Toledo","SevenExcellence (meter)",null,"C327427601"]
["Manuf",216,"Magnetite / HSA-FF","IN-L-0505-20","pH Meter & Electrodes","Mettler Toledo","pH/mV module",null,"C325334584"]
["Manuf",216,"Magnetite / HSA-FF","IN-L-0505-21","pH Meter & Electrodes","Mettler Toledo","Conductivity module",null,"C328466333"]
["Manuf",216,"Magnetite / HSA-FF","IN-L-0505-22","pH Meter & Electrodes","Mettler Toledo","InLab Routine Pro-ISM (pH electrode) 51344055",null,3256643]
["Manuf",216,"Magnetite / HSA-FF","IN-L-0505-23","pH Meter & Electrodes","Mettler Toledo","InLab 741-ISM (Low cond. electrode) 30014094",null,5823190536]
["Manuf",210,"Buffer & Media Prep","IN-L-0505-24","pH Meter & Electrodes","Mettler Toledo","SevenExcellence (meter)",null,"C327427584"]
["Manuf",210,"Buffer & Media Prep","IN-L-0505-25","pH Meter & Electrodes","Mettler Toledo","pH/mV module",null,"C323275489"]
["Manuf",210,"Buffer & Media Prep","IN-L-0505-26","pH Meter & Electrodes","Mettler Toledo","InLab Routine Pro-ISM (pH electrode) 51344055",null,3266210]
["Manuf",201,"ISO 7 SAFF","IN-L-0505-27","pH Meter & Electrodes","Mettler Toledo","SevenExcellence (meter)"]
["Manuf",201,"ISO 7 SAFF","IN-L-0505-28","pH Meter & Electrodes","Mettler Toledo","pH/mV module"]
["Manuf",201,"ISO 7 SAFF","IN-L-0505-29","pH Meter & Electrodes","Mettler Toledo","InLab Routine Pro-ISM (pH electrode) 51344055"]
["Manuf",202,"ISO 7 Sterile Fill","IN-L-0505-30","pH Meter & Electrodes","Mettler Toledo","SevenExcellence (meter)"]
["Manuf",202,"ISO 7 Sterile Fill","IN-L-0505-31","pH Meter & Electrodes","Mettler Toledo","pH/mV module"]
["Manuf",202,"ISO 7 Sterile Fill","IN-L-0505-32","pH Meter & Electrodes","Mettler Toledo","InLab Routine Pro-ISM (pH electrode) 51344055"]
["R&D",214,"R&D Lab","IN-L-0505-33","pH Meter & Electrodes","Mettler Toledo","SevenExcellence (meter)",null,"C327427594"]
["R&D",214,"R&D Lab","IN-L-0505-34","pH Meter & Electrodes","Mettler Toledo","pH/mV module",null,"C325372198"]
["R&D",214,"R&D Lab","IN-L-0505-35","pH Meter & Electrodes","Mettler Toledo","InLab Routine Pro-ISM (pH electrode) 51344055",null,3256638]
["R&D",214,"R&D Lab","IN-L-0505-36","pH Meter & Electrodes","Mettler Toledo","pH/mV module",null,"C327453294"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0505-38","pH Meter & Electrodes","Mettler Toledo","InLab Micro Pro-ISM (pH electrode) 51344163",null,3401802]
["Manuf",216,"Magnetite / HSA-FF","IN-L-0506-01","Hot Plate Stirrers","Labnet","D0320",null,"ALB20140820 15/63"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0506-02","Hot Plate Stirrers","Labnet","D0320",null,"ALB20140820 43/63"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0506-03","Hot Plate Stirrers","Labnet","D0320",null,"ALB20140820 58/63"]
["R&D",214,"R&D Lab","IN-L-0506-04","Hot Plate Stirrers","Corning","PC410",null,70496172647]
["Manuf",213,"Assay / Analytical Lab","IN-L-0506-05","Hot Plate Stirrers","Labnet","D0320",null,"ALB20140820 46/63"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0506-06","Hot Plate Stirrers","Labnet","D0320",null,"ALB20140820 44/63"]
["R&D",215,"Blood / Apheresis Lab","IN-L-0507-01","Vortexers","Fisher Scientific",2215360,null,130128006]
["Manuf",213,"Assay / Analytical Lab","IN-L-0507-02","Vortexers","Fisher Scientific",2215360,null,60627022]
["R&D",214,"R&D Lab","IN-L-0507-06","Vortexers","Fisherbrand","02-215-414",null,210718012]
["Manuf",213,"Assay / Analytical Lab","IN-L-0507-07","Vortexers","VWR","Analogue Vortex Mixer",null,"C340890574"]
[null,null,"mobile equip","IN-L-0508-01","Pipette Controllers","Sartorious","Midi Plus",null,15022627]
[null,null,"mobile equip","IN-L-0508-02","Pipette Controllers","Sartorious","Midi Plus",null,15016267]
[null,null,"mobile equip","IN-L-0508-03","Pipette Controllers","Sartorious","Midi Plus",null,15016274]
[null,null,"mobile equip","IN-L-0508-04","Pipette Controllers","Drummond Scientific","Pipet Aid",null,184226]
[null,null,"mobile equip","IN-L-0508-05","Pipette Controllers","VistaLab Technologies","Ali-Q2",null,821919]
[null,null,"mobile equip","IN-L-0508-06","Pipette Controllers","Fisherbrand","FB14955202",null,"QB365262"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0509-05","Water Bath","Thermo Scientific","Precision TSGP10",null,300503308]
["Manuf",216,"Magnetite / HSA-FF","IN-L-0509-06","Water Bath","VWR","WBE05",null,"E12320039"]
["Manuf",216,"Magnetite / HSA-FF","IN-L-0509-07","Water Bath","VWR","WBE05",null,"E12320155"]
["Manuf",216,"Magnetite / HSA-FF","IN-L-0509-08","Water Bath","VWR","WBE05",null,"E12320168"]
["Manuf",222,"Cell Culture Lab","IN-L-0509-09","Water Bath","VWR","WBE05",null,"E12340566"]
["R&D",209,"Cell Quarantine & Sampling Lab","IN-L-0509-10","Water Bath","VWR","WBE05",null,"E12320120"]
["R&D",223,"Cell Dev Lab","IN-L-0509-11","Water Bath","VWR","WBE05",null,"E12320119"]
["Manuf",204,"ISO 7 Cell Culture","IN-L-0509-12","Water Bath","VWR","WBE05","76308-834","E12320169"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0510-01","Benchtop Shakers/Mixers","Fisher Scientific","22-363-152",null,151970741]
["Manuf",213,"Assay / Analytical Lab","IN-L-0510-02","Benchtop Shakers/Mixers","Boekel Scientific",260350,null,110929801]
["R&D",209,"Cell Quarantine & Sampling Lab","IN-L-0510-03","Benchtop Shakers/Mixers","Thermo Scientific",88881103,null,"L4CT81103045"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0510-04","Benchtop Shakers/Mixers","Scilogex","SCI-M",null,"VC226AJ0000028"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0510-05","Benchtop Shakers/Mixers","Kylin-Bell","BE-1100",null,"N/A"]
["Manuf",218,"Manufacturing Storage Room","IN-L-0512-02","Heating Mantles","Faithful","3070-65",null,"13FSF040935"]
["Manuf",216,"Magnetite / HSA-FF","IN-L-0512-05","Heating Mantles","Faithful","98-II-C ",null,20230109120010]
["Manuf",218,"Manufacturing Storage Room","IN-L-0512-06","Heating Mantles","Faithful","98-II-C ",null,20230109120011]
["Manuf",213,"Assay / Analytical Lab","IN-L-0513-01","Microcentrifuges","Mini Microcentrifuge","MiniMax12k",null,"BMK-201911290365"]
["R&D",214,"R&D Lab","IN-L-0513-03","Microcentrifuges","Eppendorf","5427 \"5430\"",null,"5427XN706528"]
["Manuf",222,"Cell Culture Lab","IN-L-0513-04","Microcentrifuges","Mini Microcentrifuge","TG12K MiniMax12k",null,236017]
["Manuf",213,"Assay / Analytical Lab","IN-L-0513-05","Microcentrifuges","Mini Microcentrifuge","TG12K MiniMax12k",null,236014]
["Manuf",213,"Assay / Analytical Lab","IN-L-0513-06","Microcentrifuges","Mini Microcentrifuge","TG12K MiniMax12k",null,236019]
["R&D",214,"R&D Lab","IN-L-0513-07","Microcentrifuges","Mini Microcentrifuge","TG12K MiniMax12k",null,236016]
["R&D",215,"Blood / Apheresis Lab","IN-L-0513-08","Microcentrifuges","Mini Microcentrifuge","TG12K MiniMax12k",null,236015]
[null,null,"mobile equip","IN-L-0514-01","Pipettes","Denville","Ultra EZPette 1 mL",null,755060061]
[null,null,"mobile equip","IN-L-0514-02","Pipettes","Denville","Ultra EZPette 1 mL",null,655060418]
[null,null,"mobile equip","IN-L-0514-03","Pipettes","Denville","Ultra EZPette 200 uL",null,655050537]
[null,null,"mobile equip","IN-L-0514-04","Pipettes","Denville","Ultra EZPette 200 uL",null,655050470]
[null,null,"mobile equip","IN-L-0514-05","Pipettes","Denville","Ultra EZPette 20 uL",null,655030458]
[null,null,"mobile equip","IN-L-0514-06","Pipettes","Denville","Ultra EZPette 10 uL",null,655020306]
[null,null,"mobile equip","IN-L-0514-07","Pipettes","Denville","Ultra EZPette 1 mL",null,455160078]
[null,null,"mobile equip","IN-L-0514-08","Pipettes","Denville","Ultra EZPette 200 uL",null,455150045]
[null,null,"mobile equip","IN-L-0514-09","Pipettes","Denville","Ultra EZPette 200 uL",null,355152077]
[null,null,"mobile equip","IN-L-0514-10","Pipettes","Denville","Ultra EZPette 20 uL",null,455130144]
[null,null,"mobile equip","IN-L-0514-11","Pipettes","Denville","Ultra EZPette 10 uL",null,455120033]
[null,null,"mobile equip","IN-L-0514-12","Pipettes","Gilson","Pipetman Man 20 uL",null,"N55052M"]
[null,null,"mobile equip","IN-L-0514-13","Pipettes","Denville","Ultra EZPette 1 mL",null,455160020]
[null,null,"mobile equip","IN-L-0514-14","Pipettes","Gilson","Pipetman Man 1 mL",null,"W72382A"]
[null,null,"mobile equip","IN-L-0514-15","Pipettes","VWR","VWR 1 mL",null,842260119]
[null,null,"mobile equip","IN-L-0514-16","Pipettes","Gilson","Pipetman 200 uL",null,"E-85-10888"]
[null,null,"mobile equip","IN-L-0514-17","Pipettes","Gilson","Pipetman 200 uL",null,"Q70726L"]
[null,null,"mobile equip","IN-L-0514-18","Pipettes","Gilson","Pipetman 200 uL",null,"K16824K"]
[null,null,"mobile equip","IN-L-0514-19","Pipettes","Gilson","Pipetman 100 uL",null,"Y62385A"]
[null,null,"mobile equip","IN-L-0514-20","Pipettes","Gilson","Pipetman 20 uL",null,"J23228K"]
[null,null,"mobile equip","IN-L-0514-21","Pipettes","Gilson","Pipetman 20 uL",null,"01 NSN  (No label)"]
[null,null,"mobile equip","IN-L-0514-22","Pipettes","Gilson","Pipetman 1 mL",null,"E14583E"]
[null,null,"mobile equip","IN-L-0514-23","Pipettes","Gilson","Pipetman 200 uL",null,"J-83-14089"]
[null,null,"mobile equip","IN-L-0514-24","Pipettes","Gilson","Pipetman 200 uL",null,"D229130"]
[null,null,"mobile equip","IN-L-0514-25","Pipettes","Gilson","Pipetman 200 uL",null,"E134200"]
[null,null,"mobile equip","IN-L-0514-26","Pipettes","Gilson","Pipetman 200 uL",null,"E239587"]
[null,null,"mobile equip","IN-L-0514-27","Pipettes","VWR ","VWR 20 uL",null,842230568]
[null,null,"mobile equip","IN-L-0514-28","Pipettes","Gilson","Pipetman 1 mL",null,"U71011K"]
[null,null,"mobile equip","IN-L-0514-29","Pipettes","Gilson","Pipetman 1 mL",null,"B146940"]
[null,null,"mobile equip","IN-L-0514-30","Pipettes","Gilson","Pipetman 100 uL",null,"G126500"]
[null,null,"mobile equip","IN-L-0514-31","Pipettes","Gilson","Pipetman 1 mL",null,"L176948"]
[null,null,"mobile equip","IN-L-0514-32","Pipettes","Gilson","Pipetman G 12x300",null,"SD20025"]
[null,null,"mobile equip","IN-L-0514-33","Pipettes","Gilson","Pipetman 200 uL",null,"W62315L"]
[null,null,"mobile equip","IN-L-0514-34","Pipettes","Gilson","Pipetman 20 uL",null,"S52915L"]
[null,null,"mobile equip","IN-L-0514-35","Pipettes","Rainin","Pipet-plus (20uL)",null,"K0794904B"]
[null,null,"mobile equip","IN-L-0514-36","Pipettes","Rainin","Pipet-Lite XLS+ 8x200 uL",null,"C220054819"]
[null,null,"mobile equip","IN-L-0514-37","Pipettes","Thermo Scientific","Finnpipette F2 5 uL",null,"RU26501"]
[null,null,"mobile equip","IN-L-0514-38","Pipettes","Thermo Scientific","Finnpipette F2 20 uL",null,"QU02195"]
[null,null,"mobile equip","IN-L-0514-39","Pipettes","Thermo Scientific","Finnpipette F2 200 uL",null,"QU02295"]
[null,null,"mobile equip","IN-L-0514-40","Pipettes","Thermo Scientific","Finnpipette F2 1000 uL",null,"QU02245"]
[null,null,"mobile equip","IN-L-0514-41","Pipettes","Eppendorf","Research  2.5 uL",null,2451329]
[null,null,"mobile equip","IN-L-0514-42","Pipettes","Eppendorf","Research Plus  2.5 uL",null,"126401K"]
[null,null,"mobile equip","IN-L-0514-43","Pipettes","USA Scientific","ErgoOne 5 mL",null,"471400J"]
[null,null,"mobile equip","IN-L-0514-44","Pipettes","Eppendorf","Research  10 uL",null,1020019]
[null,null,"mobile equip","IN-L-0514-45","Pipettes","Eppendorf","Research  20 uL",null,2140635]
[null,null,"mobile equip","IN-L-0514-46","Pipettes","Eppendorf","Research  20 uL",null,2251329]
[null,null,"mobile equip","IN-L-0514-47","Pipettes","Eppendorf","Research Plus  20 uL",null,"H27838K"]
[null,null,"mobile equip","IN-L-0514-48","Pipettes","Eppendorf","Research Plus  20 uL",null,"G17871K"]
[null,null,"mobile equip","IN-L-0514-49","Pipettes","Eppendorf","Research  100 uL",null,1062529]
[null,null,"mobile equip","IN-L-0514-51","Pipettes","Eppendorf","Research  200 uL",null,3304905]
[null,null,"mobile equip","IN-L-0514-53","Pipettes","Eppendorf","Research Plus  200 uL",null,"G20931K"]
[null,null,"mobile equip","IN-L-0514-54","Pipettes","Eppendorf","Research Plus  200 uL",null,"G22745K"]
[null,null,"mobile equip","IN-L-0514-55","Pipettes","Eppendorf","Research  1000 uL",null,2253659]
[null,null,"mobile equip","IN-L-0514-56","Pipettes","Eppendorf","Research Plus  1000 uL",null,"124897K"]
[null,null,"mobile equip","IN-L-0514-57","Pipettes","Eppendorf","Research Plus  1000 uL",null,"123951K"]
[null,null,"mobile equip","IN-L-0514-59","Pipettes","Eppendorf","Research Plus 12x300 uL",null,"L48547K"]
[null,null,"mobile equip","IN-L-0514-60","Pipettes","Gilson","Pipetman 20 uL",null,"M24016K"]
[null,null,"mobile equip","IN-L-0514-61","Pipettes","Scilogex","StepMate Repeater 72010000",null,"YQ193AA0000424"]
[null,null,"mobile equip","IN-L-0514-62","Pipettes","Eppendorf","Research Plus Move-It 3125000192   6x1000 uL",null,"P93613K"]
[null,null,"mobile equip","IN-L-0514-63","Pipettes","LabForce","1159Z43    8x50 uL "]
[null,null,"mobile equip","IN-L-0514-64","Pipettes","Gilson","Pipetman 1000 uL",null,"E14066E"]
[null,null,"mobile equip","IN-L-0514-65","Pipettes","Gilson","Pipetman 200",null,"LI0I30M"]
[null,null,"mobile equip","IN-L-0514-66","Pipettes","Gilson","Pipetman 1000",null,"E19520E"]
[null,null,"mobile equip","IN-L-0514-67","Pipettes","Gilson","Pipetman 200",null,"E12002C"]
[null,null,"mobile equip","IN-L-0514-68","Pipettes","Rainin","Pipet-Lite XLS+ (10uL)",null,"C343023783"]
["Manuf",216,"Magnetite / HSA-FF","IN-L-0515-0","Overhead Stirrer","Caframo","BDC250",null,25007468]
["Manuf",113,"Warehouse","IN-L-0516-01","Ultra low Freezer","Stirling","SU105UE",null,2209.0340999999999]
["Manuf",113,"Warehouse","IN-L-0516-02","Ultra low Freezer","Fisherbrand","IUE30086FA",null,"1124179601210930"]
["R&D",209,"Cell Quarantine & Sampling Lab","IN-L-0517-00","CO2 Incubator","Sheldon Manufacturing Inc","SCO5A",null,1025614]
["Manuf",222,"Cell Culture Lab","IN-L-0517-01","CO2 switch","Nuaire","NU-1550 Tank Guard",null,"\"10-26-21MR\""]
["Manuf",222,"Cell Culture Lab","IN-L-0517-02","CO2 Incubator","Thermo Scientific","Heracell VIOS 160i 51033547",null,42824436]
["Manuf",222,"Cell Culture Lab","IN-L-0517-03","CO2 Incubator","Thermo Scientific","Heracell VIOS 160i",null,43174937]
["R&D",223,"Cell Dev Lab","IN-L-0517-04","CO2 Incubator","Sheldon Manufacturing Inc","SCO5A"]
["Manuf",204,"ISO 7 Cell Culture","IN-L-0517-05","CO2 Incubator","Eppendorf","S41i",null," S41ILQ802364"]
["R&D",223,"Cell Dev Lab","IN-L-0517-06","CO2 Incubator","Eppendorf","S41i",null," S41ILP502353"]
["Manuf",211,"Glassware Washing ","IN-L-0518-01","Water Purification Systems","Millipore","Milli-Q IQ 7005",null,"F3CB96113R"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0519-00","Cellometer","Nexcelom Bioscience","Cellometer Auto 2000",null,"Auto2000-101-0132"]
["Manuf",222,"Cell Culture Lab","IN-L-0521-03","Benchtop Centrifuges","Sorvall / Thermo","ST8",null,720021070209]
["R&D",215,"Blood / Apheresis Lab","IN-L-0521-04","Benchtop Centrifuges","Hettich","ROTANTA 460 RF",null,"* 0000151"]
["R&D",214,"R&D Lab","IN-L-0521-05","Benchtop Centrifuges","Eppendorf","5910 Ri",null,"2943MI206639"]
["R&D",223,"Cell Dev Lab","IN-L-0521-06","Benchtop Centrifuges","Eppendorf","5910 Ri",null,"5943MI706644"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0521-07","Benchtop Centrifuges","Eppendorf","5910 Ri",null,"5943MI006642"]
["Manuf",201,"ISO 7 SAFF","IN-L-0521-08","Benchtop Centrifuges","Eppendorf","5910 Ri"]
["R&D",214,"R&D Lab","IN-L-0522-00","Pumps","Spectrum Labs","Kros Flo 900-1893",null,"708-12202-000"]
["R&D",214,"R&D Lab","IN-L-0522-01","Pumps","Ismatec","Ismatec Reglo ICC Digital Pump EW-78001-78",null,"L21001168"]
["R&D",215,"Blood / Apheresis Lab","IN-L-0522-02","Pumps","Masterflex","Masterflex L/S® EW-07528-10",null,221002358]
["R&D",214,"R&D Lab","IN-L-0523-00","BioSafety Cabinet","Labconco","6ft Purifier Logic+ 302619100","302619100","160119977B"]
["Manuf",222,"Cell Culture Lab","IN-L-0523-01","BioSafety Cabinet","Thermo Scientific","6ft 1377",null,300495719]
["R&D",223,"Cell Dev Lab","IN-L-0523-02","BioSafety Cabinet","Labconco","Purifier Logic+","302619101","230549958B"]
["R&D",215,"Blood / Apheresis Lab","IN-L-0523-03","BioSafety Cabinet","Labconco","Purifier Logic+","302419101","230651083A"]
["R&D",209,"Cell Quarantine & Sampling Lab","IN-L-0523-04","BioSafety Cabinet","Labconco","Purifier Logic+","302419101","230651081A"]
["Manuf",210,"Buffer & Media Prep","IN-L-0523-05","BioSafety Cabinet","Labconco","Purifier Logic+","302419101","230549927A"]
["Manuf",212,"ISO Cleaning Prep Room","IN-L-0523-06","BioSafety Cabinet","Labconco","Purifier Logic+","302319101","230651995A"]
["Manuf",201,"ISO 7 SAFF","IN-L-0523-07","BioSafety Cabinet","Thermo Scientific",1347,null,"300605488"]
["Manuf",202,"ISO 7 Sterile Fill","IN-L-0523-08","BioSafety Cabinet","Thermo Scientific",1347,null,"300605640"]
["Manuf",203,"ISO 7 mAb Purification","IN-L-0523-09","BioSafety Cabinet","Thermo Scientific",1347,null,"300605487"]
["Manuf",204,"ISO 7 Cell Culture","IN-L-0523-10","BioSafety Cabinet","Thermo Scientific",1347,null,300605641]
["R&D",214,"R&D Lab","IN-L-0524-00","Microscope","Olympus","BX41TF",null,"1G07044"]
["R&D",209,"Cell Quarantine & Sampling Lab","IN-L-0524-01","Microscope","Cambridge Instrument","PhotoZoom"]
["Manuf",222,"Cell Culture Lab","IN-L-0524-02","Microscope","Olympus","CKX53F3",null,"1H44314"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0526-01","Flow Cytometer","Beckman Coulter","CytoFLEX",null,"BE27029"]
["R&D",214,"R&D Lab","IN-L-0527-04","Fume Hoods","Labconco","6ft Protector XL","11160000032291",220734673]
["Manuf",216,"Magnetite / HSA-FF","IN-L-0527-05","Fume Hoods","Labconco","8ft Protector XL","11180000032291",220734671]
["Manuf",216,"Magnetite / HSA-FF","IN-L-0527-06","Fume Hoods","Labconco","8ft Protector XL","11180000032291",220734672]
[null,null,"mobile equip","IN-L-0528-1130431","Thermometer","Fisher Scientific","13-201-644",null,1130431]
[null,null,"mobile equip","IN-L-0528-1130562","Thermometer","Fisher Scientific","13-201-644",null,1130562]
[null,null,"mobile equip","IN-L-0528-1130600","Thermometer","Unknown","-20 – 110 C",null,1130600]
[null,null,"mobile equip","IN-L-0528-1130759","Thermometer","Fisher Scientific","13-201-644",null,1130759]
[null,null,"mobile equip","IN-L-0528-1131453","Thermometer","Fisher Scientific","13-201-644",null,1131453]
[null,null,"mobile equip","IN-L-0528-1131503","Thermometer","Fisher Scientific","13-201-644",null,1131503]
[null,null,"mobile equip","IN-L-0528-1132417","Thermometer","Fisher Scientific","13-201-644",null,1132417]
[null,null,"mobile equip","IN-L-0528-2129103","Thermometer","Fisher Scientific","13-201-641",null,2129103]
[null,null,"mobile equip","IN-L-0528-2129158","Thermometer","Unknown","-10 – 50 C",null,2129158]
[null,null,"mobile equip","IN-L-0528-2130118","Thermometer","Unknown","-10 – 50 C",null,2130118]
[null,null,"mobile equip","IN-L-0528-3108447","Thermometer","Fisher Scientific","13-201-645",null,3108447]
[null,null,"mobile equip","IN-L-0528-3145849","Thermometer","Fisher Scientific","13-201-644",null,3145849]
[null,null,"mobile equip","IN-L-0528-3147396","Thermometer","Fisher Scientific","13-201-644",null,3147396]
[null,null,"mobile equip","IN-L-0528-765010","Thermometer","Fisher Scientific","Durac Plus 13-201-643",null,765010]
[null,null,"mobile equip","IN-L-0528-765100","Thermometer","Fisher Scientific","Durac Plus 13-201-643",null,765100]
[null,null,"mobile equip","IN-L-0528-765614","Thermometer","Fisher Scientific","Durac Plus 13-201-643",null,765614]
[null,null,"mobile equip","IN-L-0528-765750","Thermometer","Fisher Scientific","Durac Plus 13-201-643",null,765750]
[null,null,"mobile equip","IN-L-0528-864208","Thermometer","Fisher Scientific","Durac Plus 13-201-641",null,864208]
[null,null,"mobile equip","IN-L-0528-864724","Thermometer","Fisher Scientific","Durac Plus 13-201-641",null,864724]
[null,null,"mobile equip","IN-L-0528-864808","Thermometer","Fisher Scientific","Durac Plus 13-201-641",null,864808]
[null,null,"mobile equip","IN-L-0528-947040","Thermometer","Fisher Scientific","Durac Plus 13-201-644",null,947040]
[null,null,"mobile equip","IN-L-0528-947218","Thermometer","Fisher Scientific","Durac Plus 13-201-644",null,947218]
[null,null,"mobile equip","IN-L-0528-947844","Thermometer","Fisher Scientific","Durac Plus 13-201-644",null,947844]
["Manuf",211,"Glassware Washing ","IN-L-0529-04","Oven","Binder","FD56",null,"20230000009092"]
["Manuf",218,"Manufacturing Storage Room","IN-L-0530-01","Desiccator","Bel-Art","H42070-1400, 3744E61",null,58]
[null,null,"mobile equip","IN-L-0531-23","Timer","Fisher Scientific","06-664-252",null,221962036]
[null,null,"mobile equip","IN-L-0531-24","Timer","Fisher Scientific",null,null,221962048]
[null,null,"mobile equip","IN-L-0531-25","Timer","Fisher Scientific",null,null,221862851]
[null,null,"mobile equip","IN-L-0531-26","Timer","Fisher Scientific","06-662-5",null,230210409]
[null,null,"mobile equip","IN-L-0531-27","Timer","Fisher Scientific","06-664-251",null,230635810]
[null,null,"mobile equip","IN-L-0531-28","Timer","Fisher Scientific","06-664-251",null,230635827]
[null,null,"mobile equip","IN-L-0531-29","Timer","Fisher Scientific","06-664-251",null,230635849]
[null,null,"mobile equip","IN-L-0531-30","Timer","Fisher Scientific","06-664-251",null,230505147]
[null,null,"mobile equip","IN-L-0531-31","Timer","Fisher","Dual Flashing Timer - 06664252",null,230605043]
[null,null,"mobile equip","IN-L-0531-32","Timer","Fisher","Dual Flashing Timer - 06664252",null,230605568]
[null,null,"mobile equip","IN-L-0531-33","Timer","Fisher","Dual Flashing Timer - 06664252",null,230605563]
[null,null,"mobile equip","IN-L-0531-34","Timer","Fisher","Dual Flashing Timer - 06664252",null,230605045]
[null,null,"mobile equip","IN-L-0531-35","Timer","Fisher","Jumbo Timer - 06-662-47",null,230343661]
[null,null,"mobile equip","IN-L-0531-36","Timer","Fisher","Jumbo Timer - 06-662-47",null,230343638]
[null,null,"mobile equip","IN-L-0531-37","Timer","Fisher","Jumbo Timer - 06-662-47",null,230343656]
[null,null,"mobile equip","IN-L-0531-38","Timer","Fisher","Jumbo Timer - 06-662-47",null,230578926]
[null,null,"mobile equip","IN-L-0532","Stir Bars"]
["Manuf",216,"Magnetite / HSA-FF","IN-L-0533-02","TDS Meter","Oakton Instruments","35604-24",null,3043292]
["Manuf",216,"Magnetite / HSA-FF","IN-L-0533-03","TDS probe","Oakton Instruments","35604-24",null,"01X252208"]
["Manuf",210,"Buffer & Media Prep","IN-L-0535-08","Refrigerator (Mini)","VWR","FRS-04-RFC10",null,"VWR-122103151952PW-2105-V52"]
["Manuf",113,"Warehouse","IN-L-0535-09","Freezer (Mini)","VWR","FFS-04-RFC10",null,"VWR-182104091065PW-2105-V52"]
["Manuf",222,"Cell Culture Lab","IN-L-0535-10","Refrigerator (Mini)","VWR","FRS-04-RFC10",null,"VWR-122103151854PW-2105-V52"]
["R&D",214,"R&D Lab","IN-L-0535-11","Freezer (Mini)","VWR","FFS-04-RFC10",null,"VWR-182104091101PW-2105-V52"]
["Manuf",113,"Warehouse","IN-L-0535-12","Refrigerator (Mini)","VWR","FRS-04-RFC10",null,"VWR-122103151929PW-2105-V52"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0535-13","Freezer (Mini)","VWR","FFS-04-RFC10",null,"VWR-182104091012PW-2105-V52"]
["R&D",215,"Blood / Apheresis Lab","IN-L-0535-14","Refrigerator (Mini)","VWR","FRS-04-RFC10",null,"VWR-122103151946PW-2105-V52"]
["Manuf",222,"Cell Culture Lab","IN-L-0535-15","Freezer (Mini)","VWR","FFS-04-RFC10",null,"VWR-182104091079PW-2105-V52"]
["R&D",223,"Cell Dev Lab","IN-L-0535-16","Refrigerator (Mini)","VWR","FRS-04-RFC10",null,"VWR-122103151935PW-2105-V52"]
["R&D",215,"Blood / Apheresis Lab","IN-L-0535-17","Freezer (Mini)","VWR","FFS-04-RFC10",null,"VWR-182104091080PW-2105-V52"]
["R&D",214,"R&D Lab","IN-L-0535-18","Cold Cabinet (2 door)","VWR","GTVWG45CPLA",null,300497202]
["Manuf",113,"Warehouse","IN-L-0535-19","Cold Cabinet (2 door)","VWR","VWR-HCLP-49",null,"VWR-22032155-2208"]
["Manuf",113,"Warehouse","IN-L-0535-20","Cold Cabinet (2 door)","VWR","VWR-HCLP-49",null,"VWR-23015838-2307"]
["Manuf",113,"Warehouse","IN-L-0535-21","Cold Cabinet (2 door)","VWR","VWR-HCLP-49",null,"VWR-23015845-2307"]
["Manuf",210,"Buffer & Media Prep","IN-L-0535-22","Cold Cabinet (2 door)","VWR","VWR-HCLP-49",null,"VWR-23015814-2307"]
["R&D",219,"R&D Storage Room","IN-L-0535-23","Cold Cabinet (2 door)","VWR","VWR-HCLP-49",null,"VWR-23015809-2307"]
["Manuf",218,"Manufacturing Storage Room","IN-L-0535-24","Cold Cabinet (2 door)","VWR","VWR-HCLP-47",null,"VWR-21264708-2307"]
["Manuf",218,"Manufacturing Storage Room","IN-L-0535-25","Freezer (Full)","VWR","VWR-HC-MFP-20P",null,"VWR-21227838-2308"]
["R&D",219,"R&D Storage Room","IN-L-0535-26","Freezer (Full)","VWR","VWR-HC-MFP-20P",null,"VWR-21227808-2308"]
["Manuf",113,"Warehouse","IN-L-0535-27","Freezer (Full)","VWR","VWR-HC-MFP-20",null,"VWR-22068647-2305"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0535-28","Refrigerator (Full 26cf)","VWR","VWR-HC-26S",null,"VWR-22053010-2308"]
["Manuf",216,"Magnetite / HSA-FF","IN-L-0535-29","Refrigerator (Full 16cf)","VWR","VWR-HCLP-16",null,"VWR-22108632-2308"]
[null,null,"N/A","IN-L-0536","Cell Lines","N/A","N/A","N/A","N/A"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0537-01","Ultrasonic cleaner","VWR","97043-960",null,"2311A14342"]
["R&D",221,"LN2 Storage","IN-L-0538-01","Dewars","Thermo Scientific","CK509X4",null,"NPB2021160783V"]
["R&D",221,"LN2 Storage","IN-L-0538-02","Dewars","Thermo Scientific","CK509X4",null,"NPB2021160782V"]
["R&D",221,"LN2 Storage","IN-L-0538-03","Dewars","Thermo Scientific","CY509108",null,"NPB2021370588Y"]
["R&D",220,"Engineering Lab","IN-L-0539-02","Stability Chambers","Weisstechnik","PharmaEvent C280",null,"56438603180080"]
["R&D",220,"Engineering Lab","IN-L-0539-1","Stability Chambers","Weisstechnik","PharmaEvent C280",null,"56438603180090"]
["R&D",221,"LN2 Storage","IN-L-0540-02","Oxygen Monitors","MSA Altair","FTZU 05 Atex 0250",null,"08302225"]
["R&D",221,"LN2 Storage","IN-L-0540-03","Oxygen Monitors","RKI Instruments","OX-600"]
["R&D",221,"LN2 Storage","IN-L-0540-04","Oxygen Monitors","RKI Instruments","OX-600"]
[null,null,"mobile equip","IN-L-0541-01","Fridge/Freezer Temp Monitors","Fisher Scientific","14-650-103, 15507593",null,210159336]
[null,null,"mobile equip","IN-L-0541-02","Fridge/Freezer Temp Monitors","Fisher Scientific","14-650-104, 15517593",null,210102808]
[null,null,"mobile equip","IN-L-0541-03","Fridge/Freezer Temp Monitors","Fisher Scientific","14-650-104, 15517593",null,210102806]
[null,null,"mobile equip","IN-L-0541-04","Fridge/Freezer Temp Monitors","Fisher Scientific","14-650-104, 15517593",null,210102821]
[null,null,"mobile equip","IN-L-0541-05","Fridge/Freezer Temp Monitors","Fisher Scientific","14-650-104, 15517593",null,210102825]
[null,null,"mobile equip","IN-L-0541-06","Fridge/Freezer Temp Monitors","Fisher Scientific","14-650-104, 15517593",null,210102817]
[null,null,"mobile equip","IN-L-0541-07","Fridge/Freezer Temp Monitors","Cole Parmer",4240,null,230363741]
[null,null,"mobile equip","IN-L-0541-08","Fridge/Freezer Temp Monitors","Cole Parmer",4240,null,230363755]
[null,null,"mobile equip","IN-L-0541-09","Fridge/Freezer Temp Monitors","Cole Parmer",4240,null,230363738]
[null,null,"mobile equip","IN-L-0541-10","Fridge/Freezer Temp Monitors","Cole Parmer",4240,null,230363739]
[null,null,"mobile equip","IN-L-0541-11","Fridge/Freezer Temp Monitors","Cole Parmer",4240,null,230363745]
[null,null,"mobile equip","IN-L-0541-12","Fridge/Freezer Temp Monitors","Cole Parmer",4240,null,230363778]
[null,null,"mobile equip","IN-L-0541-13","Fridge/Freezer Temp Monitors","Cole Parmer",4240,null,230363751]
[null,null,"mobile equip","IN-L-0541-14","Fridge/Freezer Temp Monitors","Cole Parmer",4240,null,230363737]
[null,null,"mobile equip","IN-L-0541-15","Fridge/Freezer Temp Monitors","Cole Parmer",4240,null,230363733]
[null,null,"mobile equip","IN-L-0541-16","Fridge/Freezer Temp Monitors","Cole Parmer",4240,null,230363731]
[null,null,"mobile equip","IN-L-0542-01","Ultra Cold & Liquid Nitrogen Temp Monitor","Fisher Scientific",15763327,null,210226773]
[null,null,"mobile equip","IN-L-0542-02","Ultra Cold & Liquid Nitrogen Temp Monitor","Fisher Scientific",15763327,null,210823133]
[null,null,"mobile equip","IN-L-0542-03","Ultra Cold & Liquid Nitrogen Temp Monitor","Fisher Scientific","15-079-627",null,210993935]
[null,null,"mobile equip","IN-L-0542-04","Ultra Cold & Liquid Nitrogen Temp Monitor","Traceable",6511,null,230348776]
[null,null,"mobile equip","IN-L-0542-05","Ultra Cold & Liquid Nitrogen Temp Monitor","Traceable",6511,null,230373970]
[null,null,"mobile equip","IN-L-0542-06","Ultra Cold & Liquid Nitrogen Temp Monitor","Traceable",6513,null,230373971]
[null,null,"mobile equip","IN-L-0543-01","Temp Hygrometer","Fisher Scientific","15-079-629, 652, (6521)",null,210180270]
[null,null,"mobile equip","IN-L-0543-02","Temp Hygrometer","Fisher Scientific","15-079-629, 652, (6521)",null,210180271]
[null,null,"mobile equip","IN-L-0543-03","Temp Hygrometer","Fisher Scientific","15-079-629, 652, (6521)",null,210392556]
[null,null,"mobile equip","IN-L-0544-01","Traceable WiFi Digital Thermometer","Fisher Scientific","15-079-617, 15631904, (650)",null,210525119]
[null,null,"mobile equip","IN-L-0544-02","Traceable WiFi Digital Thermometer","Fisher Scientific","15-079-617, 15631904, (650)",null,210525107]
[null,null,"mobile equip","IN-L-0544-03","Traceable WiFi Digital Thermometer","Fisher Scientific","15-079-617, 15631904, (650)",null,210525111]
[null,null,"mobile equip","IN-L-0544-04","Traceable WiFi Digital Thermometer","Fisher Scientific","15-079-617, 15631904, (650)",null,210525109]
[null,null,"mobile equip","IN-L-0544-05","Traceable WiFi Digital Thermometer","Fisher Scientific","15-079-617, 15631904, (650)",null,210525125]
[null,null,"mobile equip","IN-L-0544-06","Traceable WiFi Digital Thermometer","Fisher Scientific","15-079-618, (650)",null,210591702]
[null,null,"mobile equip","IN-L-0544-07","Traceable WiFi Digital Thermometer","Fisher Scientific","15-079-615, (650)",null,221283815]
[null,null,"mobile equip","IN-L-0544-08","Traceable WiFi Digital Thermometer","Traceable",650,null,221327617]
[null,null,"mobile equip","IN-L-0544-09","Traceable WiFi Digital Thermometer","Traceable",650,null,221327653]
[null,null,"mobile equip","IN-L-0544-10","Traceable WiFi Digital Thermometer","Traceable",650,null,221327656]
[null,null,"mobile equip","IN-L-0544-11","Traceable WiFi Digital Thermometer","Traceable",650,null,221327650]
[null,null,"mobile equip","IN-L-0544-12","Traceable WiFi Digital Thermometer","Traceable","650 (6505CC)",null,230465942]
[null,null,"mobile equip","IN-L-0544-13","Traceable WiFi Digital Thermometer","Traceable","650 (6505CC)",null,230465948]
[null,null,"mobile equip","IN-L-0544-14","Traceable WiFi Digital Thermometer","Traceable","650 (6505CC)",null,230465950]
[null,null,"mobile equip","IN-L-0544-15","Traceable WiFi Digital Thermometer","Traceable","650 (6505CC)",null,230522002]
[null,null,"mobile equip","IN-L-0544-16","Traceable WiFi Digital Thermometer","Traceable","650 (6505CC)",null,230521989]
[null,null,"mobile equip","IN-L-0544-17","Traceable WiFi Digital Thermometer","Traceable","650 (6505CC)",null,230521987]
[null,null,"mobile equip","IN-L-0544-18","Traceable WiFi Digital Thermometer","Traceable","650 (6505CC)",null,230521990]
[null,null,"mobile equip","IN-L-0544-19","Traceable WiFi Digital Thermometer","Traceable","650 (6505CC)",null,2503521988]
[null,null,"mobile equip","IN-L-0546-01","Crimper","Duran Wheaton Kimble","W225815",null,"US00606364"]
[null,null,"mobile equip","IN-L-0546-02","Crimper","Thermo Scientific","C4013-100F",null,"00317806"]
[null,null,"mobile equip","IN-L-0547-01","Traceable High Temp Thermometer","Fisher Scientific","15-079-642, (651)",null,210600497]
[null,null,"mobile equip","IN-L-0548-01","Decrimper","Thermo Scientific","C4013-102",null,"00317314"]
[null,null,"mobile equip","IN-L-0548-02","Decrimper","Thermo Scientific","C4020102?",null,"N/A"]
[null,null,"mobile equip","IN-L-0548-03","Decrimper","Thermo Scientific","13mm Manual Decrimper",null,"None, Lot# 8000048202"]
[null,null,"mobile equip","IN-L-0548-04","Decrimper","Thermo Scientific","20mm Manual Decrimper",null,"None, Lot# 8000048756"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0549-01","BioRad Criterion Cell","BioRad","Criterion Cell",null,"135BR46116"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0549-02","BioRad Power Supply","BioRad","PowerPac Basic",null,"041BR310092"]
["R&D",220,"Engineering Lab","IN-L-0550-01","Gauss Meter","Extech Instruments","MF100",null,"Q671716"]
["R&D",220,"Engineering Lab","IN-L-0550-02","Gauss Meter","PCE Instruments","PCE-MFM 3500",null,230900087]
["Manuf",213,"Assay / Analytical Lab","IN-L-0551-01","Plate Reader","Agilent/BioTek","EPOCH",null,22020133]
["R&D",214,"R&D Lab","IN-L-0551-02","Plate Reader","Agilent/BioTek","BT800TSUV",null,21110923]
["Manuf",211,"Glassware Washing ","IN-L-0552-01","Glassware Washer","Labconco","FlaskScrubber",null,"TBD"]
["Manuf",211,"Glassware Washing ","IN-L-0553-01","Benchtop Autoclave","Fisherbrand","SterilElite STE2422005",null,"210607012-017"]
["R&D",209,"Cell Quarantine & Sampling Lab","IN-L-0554-01","Incubators","Corning","LSE Shaking Incubator",null,8040621]
["R&D",209,"Cell Quarantine & Sampling Lab","IN-L-0554-02","Incubators","Boekel Scientific",165000,null,233409486]
["Manuf",213,"Assay / Analytical Lab","IN-L-0555-02","NanoSpectrophotometer (Nanodrop)","Mettler Toledo","UV5 Nano",null,"C407618924"]
["R&D",220,"Engineering Lab","IN-L-0556-01","Tachometer","Traceable","9010 20250-26",null,221421492]
["R&D",220,"Engineering Lab","IN-L-0556-02","Tachometer","Traceable","9010 20250-26",null,240268075]
["Manuf",213,"Assay / Analytical Lab","IN-L-0557-01","HPLC","Agilent","1260 Infinity II"]
["R&D",214,"R&D Lab","IN-L-0558-01","Glucose Meters","CESCO Bioengineering","GlucCell GC001000",null,"GC002898"]
["R&D",214,"R&D Lab","IN-L-0559-01","Ultrafiltration/TFF Devices","Sartorius","VivaFlow 50R",null,"TBD"]
["R&D",214,"R&D Lab","IN-L-0559-02","Ultrafiltration/TFF Devices","PALL","MiniMate EVO",null,"TBD"]
["Manuf",216,"Magnetite / HSA-FF","IN-L-0560-#","Fractionation Cassettes","N/A","N/A","N/A","N/A"]
["Manuf",204,"ISO 7 Cell Culture","IN-L-0561-01","BioReactor","Cytiva","Wave 25",null,"TBD"]
[null,null,"mobile equip","IN-L-0562-01","Traceable CO2 Monitor","Traceable","6526CC",null,230503568]
[null,null,"mobile equip","IN-L-0562-02","Traceable CO2 Monitor","Traceable","6526CC",null,230503551]
[null,null,"mobile equip","IN-L-0562-03","Traceable CO2 Monitor","Traceable","6526CC",null,230503549]
["Facility",201,"ISO 7 SAFF","IN-L-0563-01","Vaisala Monitors ","Vaisala","Temperature Sensor °F"]
["Facility",201,"ISO 7 SAFF","IN-L-0563-02","Vaisala Monitors ","Vaisala","Rlative Humidity Sensor %RH"]
["Facility",202,"ISO 7 Sterile Fill","IN-L-0563-03","Vaisala Monitors ","Vaisala","Temperature Sensor °F"]
["Facility",202,"ISO 7 Sterile Fill","IN-L-0563-04","Vaisala Monitors ","Vaisala","Rlative Humidity Sensor %RH"]
["Facility",203,"ISO 7 mAb Purification","IN-L-0563-05","Vaisala Monitors ","Vaisala","Temperature Sensor °F"]
["Facility",203,"ISO 7 mAb Purification","IN-L-0563-06","Vaisala Monitors ","Vaisala","Rlative Humidity Sensor %RH"]
["Facility",204,"ISO 7 Cell Culture","IN-L-0563-07","Vaisala Monitors ","Vaisala","Temperature Sensor °F"]
["Facility",204,"ISO 7 Cell Culture","IN-L-0563-08","Vaisala Monitors ","Vaisala","Rlative Humidity Sensor %RH"]
["Facility",201,"ISO 7 SAFF","IN-L-0563-09","Vaisala Monitors ","Vaisala","Differential Pressure Sensor \"W.C."]
["Facility",202,"ISO 7 Sterile Fill","IN-L-0563-10","Vaisala Monitors ","Vaisala","Differential Pressure Sensor \"W.C."]
["Facility",203,"ISO 7 mAb Purification","IN-L-0563-11","Vaisala Monitors ","Vaisala","Differential Pressure Sensor \"W.C."]
["Facility",204,"ISO 7 Cell Culture","IN-L-0563-12","Vaisala Monitors ","Vaisala","Differential Pressure Sensor \"W.C."]
["Facility",227,null,"IN-L-0563-13","Vaisala Monitors ","Vaisala","Differential Pressure Sensor \"W.C."]
["Facility",224,null,"IN-L-0563-14","Vaisala Monitors ","Vaisala","Differential Pressure Sensor \"W.C."]
["Facility",226,null,"IN-L-0563-15","Vaisala Monitors ","Vaisala","Differential Pressure Sensor \"W.C."]
["Facility",225,null,"IN-L-0563-16","Vaisala Monitors ","Vaisala","Differential Pressure Sensor \"W.C."]
["Facility",8,null,"IN-L-0563-17","Vaisala Monitors ","Vaisala","Differential Pressure Sensor \"W.C."]
["Facility",8,null,"IN-L-0563-18","Vaisala Monitors ","Vaisala","Differential Pressure Sensor \"W.C."]
["Facility",7,null,"IN-L-0563-19","Vaisala Monitors ","Vaisala","Differential Pressure Sensor \"W.C."]
["Facility",9,null,"IN-L-0563-20","Vaisala Monitors ","Vaisala","Differential Pressure Sensor \"W.C."]
["Facility",9,null,"IN-L-0563-21","Vaisala Monitors ","Vaisala","Differential Pressure Sensor \"W.C."]
["Facility",10,null,"IN-L-0563-22","Vaisala Monitors ","Vaisala","Differential Pressure Sensor \"W.C."]
["Facility",11,null,"IN-L-0563-23","Vaisala Monitors ","Vaisala","Differential Pressure Sensor \"W.C."]
["Facility",null,null,"IN-L-0564-#","Differential Pressure Monitors - Clean Room Control"]
["Other",108,"Quality Secure Area","IN-L-0565-01","Balance Weights","Mettler Toledo ","100 g",null,"1000246250"]
["Other",108,"Quality Secure Area","IN-L-0565-02","Balance Weights","Mettler Toledo ","100 g",null,"1000246249"]
["Manuf",213,"Assay / Analytical Lab","IN-L-0566-01","Filter Integrity Tester","Cytiva","Flowstar V"]
["Manuf",203,"ISO 7 mAb Purification","IN-L-0567-01","AKTA Pilot 600R","Cytiva","AKTA Pilot 600R",null,3050929]
["Manuf",203,"ISO 7 mAb Purification","IN-L-0568-01","AKTA Flux6","Cytiva","AKTA Flux 6",null,"TBD"]
["Facility",112,"Mechanical Room","IN-L-0569-01","Gas Manifold","Amico","Carbon Dioxide"]
["Facility",112,"Mechanical Room","IN-L-0569-02","Gas Manifold","Amico","Oxygen"]
["Facility",112,"Mechanical Room","IN-L-0569-03","Gas Manifold","Amico","Nitrogen"]
["Facility",221,"LN2 Storage","IN-L-0569-04","Gas Manifold","Amico","Instrument Air"]
["Manuf",212,"ISO Cleaning Prep Room","IN-L-0570-01","H2O2 Vapor Room Decontmination System","Ecolab (Bioquell)","ProteQ",null,"TBD"]
["R&D",215,"Blood / Apheresis Lab","IN-L-0571-01","Aspiration System","INTEGRA Biosciences","VACUSAFE 4L 158310",null,"TBD"]
["Manuf",211,"Glassware Washing ","IN-L-0572-01","Ice Machine","Scotsman","UF0915A-1",null,"TBD"]
["R&D",215,"Blood / Apheresis Lab","IN-L-0573-01","Plasma Expressor","Fresenius/Fenwal","4R4414",null,"WC01303"]
["Manuf",212,"ISO Cleaning Prep Room","IN-L-0574-01","Viable Air Samplers","Hardy Diagnostics","TRIO.BAS DUO INDUCTION BAS225K",null,"0824013"]
["Manuf",212,"ISO Cleaning Prep Room","IN-L-0574-02","Viable Air Samplers","Hardy Diagnostics","TRIO.BAS DUO INDUCTION BAS225K",null,"0824014"]
["Manuf",212,"ISO Cleaning Prep Room","IN-L-0574-03","Viable Air Samplers","Hardy Diagnostics","TRIO.BAS DUO INDUCTION BAS225K",null,"1424006"]
["Manuf",212,"ISO Cleaning Prep Room","IN-L-0574-04","Viable Air Samplers","Hardy Diagnostics","TRIO.BAS DUO INDUCTION BAS225K",null,"1424009"]
["Manuf",212,"ISO Cleaning Prep Room","IN-L-0575-01","Particle Counters","Lighthouse","ApexZ3"]
["Manuf",212,"ISO Cleaning Prep Room","IN-L-0575-02","Particle Counters","Lighthouse","ApexZ3"]
["Manuf",212,"ISO Cleaning Prep Room","IN-L-0575-03","Particle Counters","Lighthouse","ApexZ3"]
["Manuf",212,"ISO Cleaning Prep Room","IN-L-0575-04","Particle Counters","Lighthouse","ApexZ3"]
["Manuf",212,"ISO Cleaning Prep Room","IN-L-0575-05","Particle Counters","Lighthouse","ApexZ3"]
["Manuf",212,"ISO Cleaning Prep Room","IN-L-0575-06","Particle Counters","Lighthouse","ApexZ3"]
["Manuf",213,"Assay / Analytical Lab","N/A","Chemical Storage Cabinet","SciMatCo","Bench Polypropylene Acid Cabinet","SC5000"]
["Manuf",218,"Manufacturing Storage Room","N/A","Chemical Storage Cabinet","Justrite","Flammable Cabinet, 22 Gallon, Sure-Grip® EX Slimline, Yellow",892220]
["Manuf",218,"Manufacturing Storage Room","N/A","Chemical Storage Cabinet","SciMatCo","Stak-a-Cab™ Corrosive Cabinet","SC1460"]
["Manuf",218,"Manufacturing Storage Room","N/A","Chemical Storage Cabinet","SciMatCo","Stak-a-Cab™ Combo Acid/Flammable Cabinet","SC2063"]
["Manuf",218,"Manufacturing Storage Room","N/A","Chemical Storage Cabinet","SciMatCo","Stak-a-Cab™ Combo Acid/Base Cabinet","SC2260"]
["Manuf",113,"Warehouse","N/A","Chemical Storage Cabinet","SciMatCo","Bench Oxidizer Cabinet","SC8030"]
["Manuf",113,"Warehouse","N/A","Chemical Storage Cabinet","SciMatCo","Bench Oxidizer Cabinet","SC8030"]
["Manuf",113,"Warehouse","N/A","Chemical Storage Cabinet","SciMatCo","Stak-a-Cab™ Combo Acid/Flammable Cabinet","SC2063"]
["Manuf",113,"Warehouse","N/A","Chemical Storage Cabinet","SciMatCo","Stak-a-Cab™ Combo Acid/Flammable Cabinet","SC2063"]
["Manuf",113,"Warehouse","N/A","Chemical Storage Cabinet","SciMatCo","Stak-a-Cab™ Combo Acid/Base Cabinet","SC2260"]
["Other",null,"Various","N/A","Lab Carts"]
["Other",null,"Various","N/A","Lab Chairs & Stools & Benches"]
["Other",null,"Various","N/A","Shelving Units"]
["Other",null,"Various","N/A","Steel Tables"]
["Other",null,"Various","N/A","Storage and File Cabinets"]
["Other",113,"Warehouse","N/A","Fork Stacker","Global Industrial","Manual Lift Stacker, 59\" Lift","WB988935"]
["Other",113,"Warehouse","N/A","Fork Stacker","Global Industrial","Manual Lift Stacker, 59\" Lift","WB988935"]
["Other",113,"Warehouse","N/A","Lift table","Global Industrial","Mobile Double Scissor Lift Table, 39\" x 20\"","WB168078"]
["Other",113,"Warehouse","N/A","Lift table","Global Industrial","Mobile Double Scissor Lift Table, 39\" x 20\"","WB168078"]
["Other",113,"Warehouse","N/A","Pallet Jack","Uline","Pallet Truck - 48 x 27\", Blue","H-7504"]
["R&D",219,"R&D Storage Room","N/A","Chemical Storage Cabinet","SciMatCo","Mini Stak-a-Cab™ Combo Acid/Flammables Cabinet","SC9043"]
["R&D",219,"R&D Storage Room","N/A","Chemical Storage Cabinet","SciMatCo","Mini Stak-a-Cab™ Combo Acid/Flammables Cabinet","SC9043"]
["R&D",219,"R&D Storage Room","N/A","Chemical Storage Cabinet","SciMatCo","Mini Stak-a-Cab™ Combo Acid/Flammables Cabinet","SC9043"]
["R&D",113,"Warehouse","N/A","Chemical Storage Cabinet","SciMatCo","Bench Oxidizer Cabinet","SC8030"]