MCC III Shell Building and Utilities

Ceiling eave height – 36’

Column spacing – 33’4”

- Post span – 33’4”

- Bay span – 83’4”

Storefront- 25% glass

Dock door (1) – 8’x10’

- Building designed to accommodate up to 2 additional framed dock doors

Drive-in door (1) – 12’x14’

Personnel doors – 6 (1-Main front door)

Floor - Subgrade is set up at 8" (below finished floor).

Basic build-out timeframe – 4 to 5 months

Water - Town of Middlesex- 8" main

Sewer - Town of Middlesex 8” gravity sewer

Electric - Duke Energy 3-phase underground along parkway